| Date : 30/04/2021 Page 1 of 1 | SWING FLEX CHECK VALVES MATERIAL OF CONSTRUCTION |  |
| --- | --- | --- |

| ITEM | DESCRIPTION | MATERIAL |  | ACC.TO |
| --- | --- | --- | --- | --- |
|  |  | STANDARD | OPTIONAL |  |
| 1 | Valve Body | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 2 | Plug | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 3 | Cover | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 4 | Retainer | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 5 | Gland | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 6 | Plug seal | NBR Rubber | EPDM Rubber | - |
| 7 | Retainer bolts | Stainless steel Gr304 | Stainless steel Gr316 | EN10088 |
| 8 | Driving shaft | X20CR13 (AISI420) | Stainless steel Gr316 | EN10088 |
| 9 | Stub shaft | X20CR13 (AISI420) | Stainless steel Gr316 | EN10088 |
| 10 | Bearing | Heavy duty PTFE / SS bearing permanently Lubricated | NA | - |
| 11 | Body seat | Stainless steel Gr316 (Welded overlay) | NA | EN10088 |
| 12 | Thrust pad | Copper | NA | EN1982 |
| 13 | Bottom cover | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN5163 |
| 14 | Cover bolts | Galvanized Steel GR8.8 | Stainless steel Gr316 | EN10088 |
| 15 | Cover seal | NBR Rubber | EPDM Rubber | - |