| Date : 30/04/2021 Page 1 of 1 | SWING FLEX CHECK VALVES MATERIAL OF CONSTRUCTION |  |
| --- | --- | --- |

| ITEM | DESCRIPTION | MATERIAL |  | ACC.TO |
| --- | --- | --- | --- | --- |
|  |  | STANDARD | OPTIONAL |  |
| 1 | Valve Body | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN1563 |
| 2 | Cover | Ductile Iron EN-GJS-500/7 | Ductile Iron EN-GJS-400/12 | EN1563 |
| 3 | Disc (Flopper) | Buna-N Steel & Nylon Reinforcement | EPDM-N Steel & Nylon Reinforcement | AWWA C508 |
| 4 | Body / Cover Seal | NBR Rubber | EPDM Rubber | AWWA C508 |
| 5 | Bolts and nuts | Galvanized steel grade 8.8 | SS316 | EN10088 |